## 2019-2020
Cleary Bros (Bombo) Pty Ltd Albion Park Quarry
Lot 3 Princes Highway, Albion Park Rail, NSW 2527
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
[5 empty] | Monitoring Frequency: | Daily during discharge
Sample Date | Obtained Date | Published Date | EPL Monitoring Point ID | pH (pH units) |  | Turbidity (NTU)
|  |  |  | Measurement | Limits | Measurement | Limits
2021-08-25 | 2021-08-25 | 2021-08-25 | 6 | 7.3 | 6.5 - 8.5 | 23.1 | 32.2
2021-08-26 | 2021-08-26 | 2021-08-26 | 6 | 7.1 | 6.5 - 8.5 | 22.7 | 32.2
2021-11-22 | 2021-11-22 | 2021-11-30 | 6 | 7.1 | 6.5 - 8.5 | 12.8 | 32.2
2021-12-09 | 2021-12-09 | 2021-12-14 | 6 | 7.3 | 6.5 - 8.5 | 21.2 | 32.2
2021-12-10 | 2021-12-10 | 2021-12-14 | 6 | 7.6 | 6.5 - 8.5 | 23.4 | 32.2
2022-01-10 | 2022-01-10 | 2022-01-11 | 6 | 7.6 | 6.5 - 8.5 | 19.3 | 32.2
2022-01-12 | 2022-01-12 | 2022-03-28 | 6 | 7.3 | 6.5 - 8.5 | 21.2 | 32.2
2022-02-23 | 2022-02-23 | 2022-02-23 | 6 | 7.2 | 6.5 - 8.5 | 24.3 | 32.2
2022-02-24 | 2022-02-24 | 2022-02-24 | 6 | 7.5 | 6.5 - 8.5 | 25.4 | 32.2
2022-02-25 | 2022-02-25 | 2022-02-25 | 6 | 7 | 6.5 - 8.5 | 23.4 | 32.2
2022-03-02 | 2022-03-02 | 2022-03-02 | 6 | 7.6 | 6.5 - 8.5 | 31.2 | 32.2
2022-03-03 | 2022-03-03 | 2022-03-04 | 6 | 7.4 | 6.5 - 8.5 | 31.6 | 32.2
2022-03-04 | 2022-03-04 | 2022-03-04 | 6 | 7.7 | 6.5 - 8.5 | 27.3 | 32.2
2022-03-07 | 2022-03-07 | 2022-03-07 | 6 | 7.5 | 6.5 - 8.5 | 29.2 | 32.2
2022-03-08 | 2022-03-08 | 2022-03-08 | 6 | 7.2 | 6.5 - 8.5 | 30.6 | 32.2
2022-03-09 | 2022-03-09 | 2022-03-09 | 6 | 7.2 | 6.5 - 8.5 | 29.8 | 32.2
2022-03-10 | 2022-03-10 | 2022-03-10 | 6 | 7.6 | 6.5 - 8.5 | 31.2 | 32.2
2022-03-01 | 2022-03-10 | 2022-03-10 | 4 | 7.2 | 6.5 - 8.5 | 16 | 50 (TSS mg/L)
2022-03-01 | 2022-03-10 | 2022-03-10 | 7 | 7.7 | N/A | 29 | N/A
2022-03-02 | 2022-03-10 | 2022-03-10 | 4 | 7.6 | 6.5 - 8.5 | 55 | 50 (TSS mg/L)
2022-03-02 | 2022-03-10 | 2022-03-10 | 7 | 8.2 | N/A | 695 | N/A
2022-03-03 | 2022-03-10 | 2022-03-10 | 4 | 7.3 | 6.5 - 8.5 | 74 | 50 (TSS mg/L)
2022-03-03 | 2022-03-10 | 2022-03-10 | 7 | 7.9 | N/A | 293 | N/A
2022-03-04 | 2022-03-14 | 2022-03-16 | 4 | 7.5 | 6.5 - 8.5 | 32 | 50 (TSS mg/L)
2022-03-04 | 2022-03-14 | 2022-03-16 | 7 | 7.8 | N/A | 198 | N/A
2022-03-07 | 2022-03-14 | 2022-03-16 | 4 | 7.8 | 6.5 - 8.5 | 46 | 50 (TSS mg/L)
2022-03-07 | 2022-03-14 | 2022-03-16 | 7 | 8.3 | N/A | 156 | N/A
2022-03-08 | 2022-03-18 | 2022-03-18 | 4 | 7.3 | 6.5 - 8.5 | 32 | 50 (TSS mg/L)
2022-03-08 | 2022-03-18 | 2022-03-18 | 7 | 7.7 | N/A | 46 | N/A
2022-03-28 | 2022-03-28 | 2022-03-28 | 6 | 7.2 | 6.5 - 8.5 | 22.6 | 32.2
2022-03-29 | 2022-03-29 | 2022-03-30 | 6 | 7.6 | 6.5 - 8.5 | 23.7 | 32.2
2022-03-30 | 2022-03-30 | 2022-03-30 | 6 | 7.4 | 6.5 - 8.5 | 22.8 | 32.2
2022-04-07 | 2022-04-07 | 2022-04-11 | 6 | 7.6 | 6.5 - 8.5 | 21.4 | 32.2