## Dust
Gerroa Sand Mine Dust - June 21 to August 21
| Location 1 TIS | Location 2 TIS | Location 3 TIS
2021-06-02 | 0.2 | 0.4 | 0.2
2021-07-01 | 0.5 | 1.3 | 0.2
2021-08-04 | 1 | 0.4 | 0.1

## TOS
Gerroa Sand Mine Total Oxidisable Sulfur - June 21 to August 21
TOS
2021-06-15 | 0.02
2021-07-01 | 0.03
2021-08-04 | 0.03

## Dredge Pond
Gerroa Sand Mine Dredge Pond - June 21 to August 21
Analyte | Units | 2021-06-02 | 2021-07-01 | 2021-08-04
CONDUCTIVITY | µS/cm | 666 | 821 | 828
pH | pH units | 8 | 7.9 | 8
TOTAL ALGAE | Cells/mL | 45000
CYANOPHYTA | Cells/mL | 41700
TOTAL PHOSPHORUS | mg/L | 5
TOTAL NITROGEN | mg/L | 500
CHLOROPHYLL-A | mg/L | 3
FAECAL COLIFORMS | #/100mL | 18
ENTEROCOCCI | #/100mL | 2
SODIUM | mg/L | 66
POTASSIUM ION | mg/L | 6
MAGNESIUM ION | mg/L | 18
CHLORIDE | mg/L | 119
SULPHATE ION | mg/L | 110
BICARBONATE ION | mg/L | 139
SOLUBLE IRON ION | mg/L | 0.025
AMMONIUM ION | mg/L | 0.02
TURBIDITY | NTU | 6.4
DISSOLVED OXYGEN | mg/L | 7.22
DISSOLVED OXYGEN | % | 73.5
not tested, due quartely

## Boreholes
Gerroa Sand Mine Boreholes - June 21 to August 21
Water depths (depth to water)
BORE HOLE | 2021-06-02 | 2021-07-01 | 2021-08-04
MW1 | 2.49 | 2.62 | 2.68
MW1A | dry | dry | dry
MW1D | 1.54 | 1.36 | 1.81
MW2A | 2.69 | 2.43 | 2.61
MW2B | 1.89 | 1.92 | 1.91
MW3A | 1.79 | 1.93 | 2.14
MW3C | 1.66 | 1.79 | 1.85
MW4 | dry | 5.93 | 6.03
MW01(07) | dry | dry | dry
MW02(07) | 1.6 | 1.52 | 1.65
MW03(07) | dry | dry | dry
MW04(07) | 3.31 | 3.34 | 3.44
MW05(07) | dry | dry | dry
Analytes June 2021
BORE HOLE | pH | Conductivity | Total Phosphorus | Total Nitrogen | Chlorophyll-a | Faecal Coliforms | Enterococci | Sodium | Potassium Ion | Magnesium Ion | Chloride Ion | Sulphate Ion | Bicarbonate Ion | Soluble Iron Ion | Ammonium Ion
Units | pH units | 5660 | µg/L | µg/L | µg/L | CFU/100mL | CFU/100mL | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
MW1 | 6.7 | dry | 20 | 1600 | <1 | <2 | <2 | 1180 | 3 | 137 | 1880 | 519 | 15 | 8.59 | 0.87
MW1A | dry | 1040 | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
MW1D | 7 | 483 | 100 | 1100 | <1 | <2 | <2 | 66 | 5 | 29 | 108 | 357 | 135 | 23.5 | 0.43
MW2A | 7.1 | 968 | 240 | 600 | 2 | ~10 | ~4 | 35 | 1 | 7 | 57 | 13 | 133 | 15.9 | 0.06
MW2B | 7.3 | 567 | 60 | 1000 | <1 | ~4 | <2 | 73 | 4 | 22 | 154 | 195 | 187 | 4.28 | 0.48
MW3A | 7.3 | 1190 | 40 | 600 | <1 | <2 | ~2 | 54 | 2 | 10 | 105 | 22 | 154 | 3.56 | 0.09
MW3C | 7 | dry | 30 | 1000 | <1 | ~<2 | ~2 | 97 | 7 | 30 | 164 | 304 | 234 | 5.9 | 0.57
MW4 | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
MW01(07) | dry | 686 | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
MW02(07) | 6.6 | dry | 120 | 1300 | 5 | ~<2 | ~4 | 71 | 5 | 18 | 115 | 113 | 101 | 4.62 | 0.26
MW03(07) | dry | 707 | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
MW04(07) | 7.6 | dry | 680 | 1300 | 1 | ~2 | 52 | 67 | 6 | 19 | 109 | 120 | 140 | <0.05 | 0.08
MW05(07) | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry