## Dust
Gerroa Sand Mine Dust - Dec 16 to Feb 17
| Location 1 TIS | Location 2 TIS | Location 3 TIS
2016-12-15 | 1.2 | 3.1 | 1
2017-01-17 | 1.7 | 1.4 | 2.3
2017-02-15 | 2.8 | 0.1 | 0.5

## TOS
Gerroa Sand Mine Total Oxidisable Sulfur - Dec 16 to Feb 17
TOS
2016-12-15 | 0.06
2017-01-17 | <0.02
2017-02-15 | <0.02

## Dredge Pond
Gerroa Sand Mine Dredge Pond - Dec 16 to Feb 17
Analyte | Units | 2016-12-15 | 2017-01-17 | 2017-02-15
CONDUCTIVITY | µS/cm | 433 | 525 | 594
pH | pH units | 6.4 | 8.4 | 7.9
TOTAL ALGAE | Cells/mL | 166000
CYANOPHYTA | Cells/mL | 152000
TOTAL PHOSPHORUS | mg/L | <10
TOTAL NITROGEN | mg/L | 500
CHLOROPHYLL-A | mg/L | 3
FAECAL COLIFORMS | #/100mL | ~1600
ENTEROCOCCI | #/100mL | 160
SODIUM | mg/L | 41
POTASSIUM ION | mg/L | 3
MAGNESIUM ION | mg/L | 11
CHLORIDE | mg/L | 56
SULPHATE ION | mg/L | 32
BICARBONATE ION | mg/L | 108
SOLUBLE IRON ION | mg/L | <0.05
AMMONIUM ION | mg/L | 0.03
TURBIDITY | NTU | 1.8
DISSOLVED OXYGEN | mg/L | 8.31
DISSOLVED OXYGEN | % | 94.5
not tested, due quarterly

## Boreholes
Gerroa Sand Mine Boreholes - Dec 16 to Feb 17
Water depths (AHD)
BORE HOLE | 2016-12-15 | 2017-01-17 | 2017-02-15
MW1 | 2.27 | 2.34 | 2.37
MW1A | dry | dry | 1.25
MW1D | 1.84 | 2.01 | 1.87
MW2A | 2.91 | 2.98 | 2.95
MW2B | 1.97 | 2.18 | 1.99
MW3A | 2.17 | 2.27 | 2.2
MW3C | 1.82 | 2.02 | 1.83
MW4 | 6.23 | 6.3 | 6.23
MW5 | discontinued | discontinued | discontinued
MW01(07) | dry | dry | dry
MW02(07) | inaccessible | inaccessible | inaccessible
MW03(07) | dry | dry | dry
MW04(07) | 3.56 | 3.65 | 3.58
MW05(07) | dry | 5.52 | 5.43
Analytes December 2016
BORE HOLE | pH | Conductivity | Total Phosphorus | Total Nitrogen | Chlorophyll-a | Faecal Coliforms | Enterococci | Sodium | Potassium Ion | Magnesium Ion | Chloride Ion | Sulphate Ion | Bicarbonate Ion | Soluble Iron Ion | Ammonium Ion
MW1* | 6.2 | 6280 | 4780 | 51100 | 20 | 3700 | 1700 | 1260 | 14 | 176 | 1930 | 4 | 540 | 7.46 | 49.5
MW1A | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
MW1D | 7.1 | 459 | 150 | 900 | <1 | <1 | ~3 | 38 | 3 | 10 | 50 | 9 | 155 | 0.38 | 0.22
MW2A | 6.7 | 502 | 200 | 400 | 5 | <2 | ~6 | 38 | 2 | 6 | 34 | 33 | 148 | 10.6 | 0.06
MW2B | 7.3 | 476 | 180 | 800 | <1 | <1 | <1 | 44 | 3 | 10 | 57 | 24 | 150 | 0.74 | 0.39
MW3A | 6.6 | 523 | 190 | 1400 | 1 | ~4 | ~6 | 57 | 4 | 8 | 105 | 23 | 62 | 18.4 | 0.38
MW3C | 7.3 | 453 | 230 | 800 | <1 | <1 | <1 | 42 | 4 | 9 | 56 | 28 | 115 | 0.51 | 0.2
MW4 | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent | conduit bent
MW5 | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued | discontinued
MW01(07) | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
MW02(07) | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible | inaccessible
MW03(07) | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
MW04(07) | 7.3 | 433 | 480 | 900 | <1 | ~2 | ~4 | 39 | 4 | 10 | 73 | 28 | 116 | 0.06 | 0.04
MW05(07) | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
MW1 (Jan 2017 resample) | 6.2 | 7630 | 3430 | 21100 | 37 | 180 | <10 | 1230 | 9 | 169 | 2350 | 319 | 93 | 61.4 | 0.89
* MW1 contaminated with organic matter during December 2016. Borehole was purged prior to resampling in January 2017