## Dust
Gerroa Sand Mine Dust - June 17 to August 17
| Location 1 TIS | Location 2 TIS | Location 3 TIS
2017-06-09 | 2.1 | 1.9 | 2.2
2017-07-11 | 0.1 | 0.4 | 0.2
2017-08-10 | 1.2 | 1 | 1

## TOS
Gerroa Sand Mine Total Oxidisable Sulfur - June 17 to August 17
TOS
2017-06-09 | 0.04
2017-07-11 | 0.03
2017-08-10 | 0.07

## Dredge Pond
Gerroa Sand Mine Dredge Pond - June 17 to August 17
Analyte | Units | 2017-06-09 | 2017-06-09 | 2017-08-10
CONDUCTIVITY | µS/cm | 509 | 480 | 520
pH | pH units | 7.7 | 7.9 | 8.29
TOTAL ALGAE | Cells/mL | 5550
CYANOPHYTA | Cells/mL | <5
TOTAL PHOSPHORUS | mg/L | 80
TOTAL NITROGEN | mg/L | 600
CHLOROPHYLL-A | mg/L | 2
FAECAL COLIFORMS | #/100mL | ~17
ENTEROCOCCI | #/100mL | ~12
SODIUM | mg/L | 44
POTASSIUM ION | mg/L | 4
MAGNESIUM ION | mg/L | 10
CHLORIDE | mg/L | 54
SULPHATE ION | mg/L | 27
BICARBONATE ION | mg/L | 105
SOLUBLE IRON ION | mg/L | <0.05
AMMONIUM ION | mg/L | 0.02
TURBIDITY | NTU | 97.9
DISSOLVED OXYGEN | mg/L | 7.98
DISSOLVED OXYGEN | % | 84.6
not tested, due quarterly

## Boreholes
Gerroa Sand Mine Boreholes - June 17 to August 17
Water depths (AHD)
BORE HOLE | 2017-06-09 | 2017-07-11 | 2017-08-10
MW1 | 1.62 | 1.68 | 1.88
MW1A | 0.58 | 1.48 | 1.24
MW1D | 1.35 | 1.51 | 1.63
MW2A | 2.56 | 2.6 | 2.68
MW2B | 1.54 | 1.72 | 1.78
MW3A | 1.32 | 1.82 | 1.95
MW3C | 1.42 | 1.62 | 1.69
MW4 | 5.79 | 5.85 | 5.96
MW01(07) | 4.52 | 4.58 | 4.69
MW02(07) | 1.34 | 1.63 | 1.65
MW03(07) | 5.29 | 5.3 | 5.34
MW04(07) | 3.17 | 3.36 | 3.44
MW05(07) | 5.02 | 5.12 | 5.22
Analytes June 2017
BORE HOLE | pH | Conductivity | Total Phosphorus | Total Nitrogen | Chlorophyll-a | Faecal Coliforms | Enterococci | Sodium | Potassium Ion | Magnesium Ion | Chloride Ion | Sulphate Ion | Bicarbonate Ion | Soluble Iron Ion | Ammonium Ion
MW1 | 5.8 | 7230 | 240 | 3000 | <1 | ~<2 | ~12 | 1260 | 4 | 164 | 1840 | 312 | 42 | 40.9 | 1.64
MW1A | 5.5 | 130 | 220 | 3000 | <1 | ~4 | 24 | 18 | 2 | 4 | 23 | 10 | 6 | 0.53 | <0.01
MW1D | 7.1 | 505 | 80 | 900 | <1 | ~18 | 22 | 38 | 2 | 9 | 50 | 9 | 129 | 0.66 | 0.4
MW2A | 6.8 | 476 | 80 | 300 | <1 | <2 | ~2 | 23 | 2 | 5 | 22 | 9 | 134 | 24.7 | 0.02
MW2B | 7.1 | 766 | 180 | 1300 | <1 | 26 | 120 | 71 | 2 | 12 | 133 | 16 | 142 | 2.11 | 0.44
MW3A | 7 | 526 | 210 | 1000 | <1 | <2 | 28 | 44 | 2 | 6 | 63 | 14 | 97 | 4.8 | 0.04
MW3C | 7.6 | 743 | 280 | 1200 | <1 | ~10 | 270 | 62 | 4 | 12 | 74 | 30 | 162 | 1.23 | 0.21
MW4 | 6.7 | 411 | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water
MW01(07) | 6.1 | 112 | 100 | 1000 | <1 | <2 | ~3 | 14 | <1 | 3 | 18 | 4 | 16 | 1.78 | 0.17
MW02(07) | 5.8 | 301 | 150 | 1800 | <1 | <2 | 120 | 34 | 2 | 7 | 51 | 19 | 15 | 2.51 | 0.24
MW03(07) | insufficient water to take sample | insuffient water to sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water to take sample | insufficient water
MW04(07) | 7.6 | 523 | 1360 | 2700 | <1 | ~6 | ~30 | 44 | 6 | 16 | 55 | 23 | 111 | 0.14 | 0.05
MW05(07) | 6 | 183 | 290 | 1700 | <1 | ~6 | ~10 | 29 | 2 | 4 | 35 | 5 | 17 | 1.7 | <0.01