## 25 Aug 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2015-08-25
Obtained: | 2015-08-25
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 8.1 | 6.5 - 8.5 | pH
|  | Turbidity | 27.84 | 32.2 | NTU

## 26 Aug 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2015-08-26
Obtained: | 2015-08-26
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7.8 | 6.5 - 8.5 | pH
|  | Turbidity | 29.7 | 32.2 | NTU

## 27 Aug 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2005-08-27
Obtained: | 2015-08-27
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7.9 | 6.5 - 8.5 | pH
|  | Turbidity | 29 | 32.2 | NTU

## 28 Aug 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2015-08-28
Obtained: | 2015-08-28
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 8 | 6.5 - 8.5 | pH
|  | Turbidity | 26.7 | 32.2 | NTU

## 29 Aug 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2015-08-29
Obtained: | 2015-08-29
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7.9 | 6.5 - 8.5 | pH
|  | Turbidity | 26.7 | 32.2 | NTU

## 30 Aug 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2015-08-30
Obtained: | 2015-08-30
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 8 | 6.5 - 8.5 | pH
|  | Turbidity | 21.2 | 32.2 | NTU

## 31 Aug 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2015-08-31
Obtained: | 2015-08-31
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 8 | 6.5 - 8.5 | pH
|  | Turbidity | 17.3 | 32.2 | NTU

## 1 Sep 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2015-09-01
Obtained: | 2015-09-01
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 8.1 | 6.5 - 8.5 | pH
|  | Turbidity | 14.2 | 32.2 | NTU

## 2 Sep 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.environment.nsw.gov.au/prpoeoapp/
Sampled: | 2015-09-02
Obtained: | 2015-09-02
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 8.2 | 6.5 - 8.5 | pH
|  | Turbidity | 13.7 | 32.2 | NTU

## 3 Sep 2015
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2015-09-03
Obtained: | 2015-09-03
Published: | 2015-09-21
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 8.1 | 6.5 - 8.5 | pH
|  | Turbidity | 12.8 | 32.2 | NTU

## 6 Jan 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-01-06
Obtained: | 2016-01-06
Published: | 2016-01-11
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7.3 | 6.5 - 8.5 | pH
|  | Turbidity | 28.2 | 32.2 | NTU

## 1 Feb 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-02-01
Obtained: | 2016-02-01
Published: | 2016-02-03
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 6.7 | 6.5 - 8.5 | pH
|  | Turbidity | 16.3 | 32.2 | NTU

## 4 Jun 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-06-04
Obtained: | 2016-06-07
Published: | 2016-06-08
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 6.2 | 6.5 - 8.5 | pH
|  | Turbidity | 26.9 | 32.2 | NTU
Water not discharged - retest on 05/06/2016

## 5 Jun 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-06-05
Obtained: | 2016-06-07
Published: | 2016-06-08
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 6.9 | 6.5 - 8.5 | pH
|  | Turbidity | 29.3 | 32.2 | NTU

## 6 Jun 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-06-06
Obtained: | 2016-06-07
Published: | 2016-06-08
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7.2 | 6.5 - 8.5 | pH
|  | Turbidity | 29.8 | 32.2 | NTU

## 7 Jun 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-06-07
Obtained: | 2016-06-07
Published: | 2016-06-08
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7.2 | 6.5 - 8.5 | pH
|  | Turbidity | 29.7 | 32.2 | NTU

## 17 Jun 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-06-17
Obtained: | 2016-06-17
Published: | 2016-06-27
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7 | 6.5 - 8.5 | pH
|  | Turbidity | 18.2 | 32.2 | NTU

## 18 Jun 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-06-18
Obtained: | 2016-06-18
Published: | 2016-06-27
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7 | 6.5 - 8.5 | pH
|  | Turbidity | 18 | 32.2 | NTU

## 19 Jun 2016
Cleary Bros Albion Park Quarry
PO Box 210 Port Kembla NSW 2505
Environment Protection Licence Number: 299
http://www.epa.nsw.gov.au/prpoeoapp/
Sampled: | 2016-06-19
Obtained: | 2016-06-19
Published: | 2016-06-27
Quarry Pit Discharge
EPA Identification No. | Monitoring Frequency | Pollutant | Measurement | Limit | Unit
6 | Daily during discharge | pH | 7 | 6.5 - 8.5 | pH
|  | Turbidity | 18 | 32.2 | NTU