## 2017-2018
Cleary Bros (Bombo) Pty Ltd Croom Regional Sporting Complex
Croome Road, Albion Park Rail, NSW 2527
Environment Protection Licence Number: 20996
http://www.epa.nsw.gov.au/prpoeoapp/
Licenced Discharges | [7 empty] | Monitoring Frequency: | Daily during discharge
Sample Date | Obtained Date | Published Date | EPL Monitoring Point ID | 5-day rainfall total | pH (pH units) |  | Total Suspended Solids (mg/L) |  | Oil and Grease
[5 empty] | Measurement | Limits | Measurement | Limits | Measurement | Limits
2018-06-28 | 2018-07-03 | 2018-07-06 | 2 | 37.5 | 8.23 | 6.5 - 8.5 | 697 | 50 | Not visible | Not visible
2018-06-29 | 2018-07-03 | 2018-07-06 | 2 | 42.5 | 7.5 | N/A* | 240 | N/A* | Not visible | Not visible
2018-07-04 | 2018-07-13 | 2018-07-13 | 2 | N/A | 7.13 | 6.5 - 8.5 | 8 | 50 | Not visible | Not visible
2018-07-05 | 2018-07-13 | 2018-07-13 | 2 | N/A | 7.4 | 6.5 - 8.5 | 10 | 50 | Not visible | Not visible
2018-10-15 | 2018-10-29 | 2018-10-30 | 2 | N/A | 7.52 | 6.5 - 8.5 | 16 | 50 | Not visible | Not visible
2018-10-16 | 2018-10-29 | 2018-10-30 | 2 | N/A | 7.5 | 6.5 - 8.5 | 20 | 50 | Not visible | Not visible
2018-10-29 | 2018-11-12 | 2018-11-12 | 4 | N/A | 7.86 | 6.5 - 8.5 | 20.6 | 50 | Not visible | Not visible
2018-10-30 | 2018-11-12 | 2018-11-12 | 4 | N/A | 7.85 | 6.5 - 8.5 | 33.4 | 50 | Not visible | Not visible
2018-10-31 | 2018-11-12 | 2018-11-12 | 4 | N/A | 8.04 | 6.5 - 8.5 | 23.2 | 50 | Not visible | Not visible
2018-12-11 | 2018-12-11 | 2018-12-14 | 3 | N/A | 8.08 | 6.5 - 8.5 | 38.8 | 50 | Not visible | Not visible
2018-12-12 | 2018-12-12 | 2018-12-19 | 3 | N/A | 8.4 | 6.5 - 8.5 | 46 | 50 | Not visible | Not visible
2018-12-19 | 2018-12-19 | 2018-12-19 | 3 | N/A | 8.38 | 6.5 - 8.5 | 40 | 50 | Not visible | Not visible
2019-01-07 | 2019-01-07 | 2019-01-08 | 4 | 76 | 7.81 | N/A* | 155 | N/A* | Not visible | Not visible
2019-01-07 | 2019-01-07 | 2019-01-08 | 3 | 76 | 7.52 | N/A* | 484 | N/A* | Not visible | Not visible
2019-01-08 | 2019-01-08 | 2019-01-08 | 3 | 76 | 7.08 | N/A* | 396 | N/A* | Not visible | Not visible
2019-01-08 | 2019-01-08 | 2019-01-08 | 1 | N/A | 7.87 | 6.5 - 8.5 | 12.5 | 50 | Not visible | Not visible
2019-01-09 | 2019-01-09 | 2019-01-09 | 3 | 87.5 | 7.57 | N/A* | 451 | N/A* | Not visible | Not visible
2019-01-09 | 2019-01-09 | 2019-01-09 | 1 | N/A | 7.88 | 6.5 - 8.5 | 20.5 | 50 | Not visible | Not visible
2019-01-10 | 2019-01-10 | 2019-01-11 | 3 | 87.5 | 7.58 | N/A* | 41.8 | N/A* | Not visible | Not visible
2019-01-10 | 2019-01-10 | 2019-01-11 | 4 | N/A | 6.91 | 6.5 - 8.5 | 44.5 | 50 | Not visible | Not visible
2019-01-11 | 2019-01-11 | 2019-01-11 | 3 | 95 | 7.72 | N/A* | 32.9 | N/A* | Not visible | Not visible
2019-01-14 | 2019-01-14 | 2019-01-14 | 4 | N/A | 7.73 | 6.5 - 8.5 | 16 | 50 | Not visible | Not visible
2019-01-14 | 2019-01-14 | 2019-01-14 | 3 | N/A | 8.05 | 6.5 - 8.5 | 37.7 | 50 | Not visible | Not visible
2019-01-15 | 2019-01-15 | 2019-01-18 | 4 | N/A | 7.42 | 6.5 - 8.5 | 24.2106 | 50 | Not visible | Not visible
2019-01-15 | 2019-01-15 | 2019-01-18 | 3 | N/A | 8.3 | 6.5 - 8.5 | 28.3496 | 50 | Not visible | Not visible
2019-01-15 | 2019-01-15 | 2019-01-18 | 1 | N/A | 7.18 | 6.5 - 8.5 | 14.6851 | 50 | Not visible | Not visible
2019-01-16 | 2019-01-16 | 2019-01-18 | 4 | N/A | 7.39 | 6.5 - 8.5 | 27.2723 | 50 | Not visible | Not visible
2019-01-16 | 2019-01-16 | 2019-01-18 | 3 | N/A | 8.36 | 6.5 - 8.5 | 22.7364 | 50 | Not visible | Not visible
2019-01-17 | 2019-01-17 | 2019-01-18 | 4 | N/A | 8.49 | 6.5 - 8.5 | 38.839 | 50 | Not visible | Not visible
2019-01-17 | 2019-01-17 | 2019-01-18 | 3 | N/A | 8.05 | 6.5 - 8.5 | 46.8336 | 50 | Not visible | Not visible
2019-01-18 | 2019-01-18 | 2019-01-18 | 4 | N/A | 8.02 | 6.5 - 8.5 | 30.4475 | 50 | Not visible | Not visible
2019-01-18 | 2019-01-18 | 2019-01-18 | 3 | N/A | 8.24 | 6.5 - 8.5 | 38.9524 | 50 | Not visible | Not visible
2019-01-21 | 2019-01-21 | 2019-01-22 | 3 | N/A | 7.02 | 6.5 - 8.5 | 38.7 | 50 | Not visible | Not visible
2019-02-12 | 2019-02-12 | 2019-02-12 | 3 | N/A | 7.61 | 6.5 - 8.5 | 41 | 50 | Not visible | Not visible
* pH and suspended solids limits do not apply where 5-day rainfall exceeds 41.9mm
TSS results from sampling undertaken from the 29/10/18 are based on in situ turbidity measurements and reported as TSS based on a site-specific statistical relationship between TSS and turbidity.